## Summary
SUMMARY: MAINTENANCE OF HOT WATER SYSTEMS
ITEM | DESCRIPTION | UNIT | QUANTITY | AMOUNT
0 | Compliance with Health and Safety Requirements for the duration of the contract. | SUM | 1
1 | Initial Inspection and Reporting | SUM | 1
2 | Ad-Hoc Services and Miscellaneous (Year 1) | SUM | 1
2a | Ad-Hoc Services and Miscellaneous (Year 2) | SUM | 1
2b | Ad-Hoc Services and Miscellaneous (Year 3) | SUM | 1
2c | Ad-Hoc Services and Miscellaneous (Year 4) | SUM | 1
2d | Ad-Hoc Services and Miscellaneous (Year 5) | SUM | 1
3 | Prevantative Maintenance: Weekly Services | SUM | 1
Additionally the bidder is to allow for escalations for subsequent years. The indicated amount shall be the total from the previous year PLUS the escalation amount. The indicated escalation percentage shall be applied as indicated for each item when claiming.
3a | Escalated total for item 3 above. Applicable for the year 2 | Percentage | __________%
3b | Escalated total for item 3a above. Applicable for the year 3 | Percentage | __________%
3c | Escalated total for item 3b above. Applicable for the year 4 | Percentage | __________%
3d | Escalated total for item 3c above. Applicable for the year 5 | Percentage | __________%
4 | Prevantative Maintenance: Monthly Services (Year 1) | SUM | 1
Additionally the bidder is to allow for escalations for subsequent years. The indicated amount shall be the total from the previous year PLUS the escalation amount. The indicated escalation percentage shall be applied as indicated for each item when claiming.
4a | Escalated total for item 4 above. Applicable for the year 2 | Percentage | __________%
4b | Escalated total for item 4a above. Applicable for the year 3 | Percentage | __________%
4c | Escalated total for item 4b above. Applicable for the year 4 | Percentage | __________%
4d | Escalated total for item 4c above. Applicable for the year 5 | Percentage | __________%
5 | Prevantative Maintenance: Quarterly Services | SUM | 1
Additionally the bidder is to allow for escalations for subsequent years. The indicated amount shall be the total from the previous year PLUS the escalation amount. The indicated escalation percentage shall be applied as indicated for each item when claiming.
5a | Escalated total for item 5 above. Applicable for the year 2 | Percentage | __________%
5b | Escalated total for item 5a above. Applicable for the year 3 | Percentage | __________%
5c | Escalated total for item 5b above. Applicable for the year 4 | Percentage | __________%
5d | Escalated total for item 5c above. Applicable for the year 5 | Percentage | __________%
6 | Prevantative Maintenance: Annual Services (Year 1) | SUM | 1
Additionally the bidder is to allow for escalations for subsequent years. The indicated amount shall be the total from the previous year PLUS the escalation amount. The indicated escalation percentage shall be applied as indicated for each item when claiming.
6a | Escalated total for item 6 above. Applicable for the year 2 | Percentage | __________%
6b | Escalated total for item 6a above. Applicable for the year 3 | Percentage | __________%
6c | Escalated total for item 6b above. Applicable for the year 4 | Percentage | __________%
6d | Escalated total for item 6c above. Applicable for the year 5 | Percentage | __________%
7 | Preventative Maintenance: Annual Services Every 3 years - inclusive of pressure vessel testing | PROV SUM | 1 | 900000
8 | Markup for subcontracting as in item 7 - including pressure vessel testing. | Percentage | __________%
9 | The value of each item will be taken into account in deciding which markup will be applied.The mark up will be on the supplier's nett invoiced value before the addition of VAT. Mark up will not be added to the cost of proprietary items for which service provider is the manufacturer or agent and which he/she retails. Such items will not be supplied at more than normal retail price. The amounts below will be used for tender evaluation purposes only and will not form part of the contract, however the markup is to be applied. | Percentage | __________%
SUB-TOTAL
VAT
TOTAL INCL VAT
Price Escalation Notes:The university strongly encourages all bidders to take into account the Consumer Price Index (CPI) for any annual price increases. It is imperative to note that only escalations linked to the CPI will be accepted.The rationale behind this proposal is to ensure that price adjustments reflect current economic conditions. According to the latest data from Statistics South Africa (Stat SA), the average CPI over the past 12 months stands at approximately 3.2%. This figure should serve as a guideline for adjusting bid proposals accordingly.

## Bill No. 1-Initial Inspection
BILL NO.1 - INITIAL INSPECTION AND REPORTING
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
Initial inspection of hot water systems for benchmarking and establishing immediate maintenance needs. Rates in this section to cover inspection, labour, travel and reporting related costs.
Heat Exchangers
1.1 | Heat Exchanger Model: Solar stratified charging module, 2017 Serial No: LME-150M | Each | 1
1.2 | Heat Exchanger Model: Solar stratified charging module, 2018 Serial No: LME-150M | Each | 1
1.3 | Heat Exchanger Model: Solar stratified charging module, 2018 Serial No: LME-300M | Each | 1
1.4 | Heat Exchanger Model: Solar stratified charging module, 2018 Serial No: LME-400M | Each | 1
Circulation Pumps
1.5 | Wilo pump Serial No: Para 25/1-11 T2/20000100000, 2018 | Each | 1
1.6 | Wilo pump Serial No: Para 25/1-9 T2/20000100063, 2018 | Each | 1
1.7 | Wilo pump Serial No: Para Maxo 25-180-11-F021/231156370011, 2025 | Each | 1
1.8 | Wilo pump Serial No: Para Maxo 25-180-11-F021/2311563700101, 2025 | Each | 1
1.9 | Wilo pump Serial No: Stratos 40/1-12(DE)/10001154593, 2018 | Each | 1
1.1 | Wilo pump Serial No: Stratos Para 30/1-12T2/20000100048, 2018 | Each | 1
1.11 | Wilo pump Serial No: Stratos Para 30/1-8T2/20000100031, 2018 | Each | 1
1.12 | Wilo pump Serial No: Stratos Para 30/1-12T2/20000100049, 2018 | Each | 1
1.13 | Grundfos pump Serial No: Not Available | Each | 5
Return Pump
1.14 | Wilo pump Serial No: Not Available | Each | 2
Pressure Pump
1.15 | Grundfos pump Serial No: Not Available | Each | 2
Expansion Vessel
1.16 | Pre-cooling tank Model: Not Available Serial No: Not Available | Each | 3
1.17 | MEV Tank Model: Not Available Serial No: Not Available | Each | 3
1.18 | Expansion Vessel Model: Global Water Solution, MUPA-300-10,2018 Serial No: Not Available | Each | 4
1.19 | Expansion Vessel Model: Global Water Solution, MUPA-450-10, 2018 Serial No: Not Available | Each | 7
Glycol tanks
1.2 | Glycol tank Maximum working pressure: 10 bar Test Pressure: 13 bar Model: MUPA-300-10, 2018 | Each | 4
1.21 | Glycol tank Maximum working pressure: 10 bar Test Pressure: 13 bar Model: MUPA-450-10, 2018 | Each | 7
1.22 | Valves No details available | Each
Tanks Under Pressure
1.23 | Tanks Under Pressure No details available | Each | 3
1.24 | Tanks Under Pressure Make: Blackdot Energy | Each | 1
Thermal cubes
1.25 | Thermal cubes with coils inside - Not under pressure | Each | 2
Solar Collectors
1.26 | Solar Collectors - Junction Campus, Parktown | Each | 240
1.27 | Solar Collectors - David Wesbter Residence | Each | 64
1.28 | Solar Collectors - Barnato Hall Residence | Each | 72
TOTAL CARRIED TO SUMMARY (EX VAT)

## Bill No. 2-Adhoc
BILL NO.2 - AD-HOC SERVICES AND MISCELLANEOUS
ITEM | DESCRIPTION | UNIT | QTY PER YEAR | RATE | AMOUNT
Ad-hoc services for emergency and non-urgent call outs. These are separate from scheduled preventative maintenance services. Only actual, authorised hours will be claimable.
2.1 | Ad-hoc services for Monday to Friday
2.1.1 | Plumber | Hour | 80
2.1.2 | Electrician | Hour | 40
2.1.3 | Call-out fee | Each | 20
2.2 | Ad-hoc services for After hours, Weekends and Public Holidays
2.2.1 | Plumber | Hour | 40
2.2.2 | Electrician | Hour | 40
2.2.3 | Call-out fee | Each | 10
TOTAL CARRIED TO SUMMARY (EX VAT)

## Bill No. 2A-Adhoc
BILL NO.2A - AD-HOC SERVICES AND MISCELLANEOUS
ITEM | DESCRIPTION | UNIT | QTY PER YEAR | RATE | AMOUNT
Ad-hoc services for emergency and non-urgent call outs. These are separate from scheduled preventative maintenance services. Only actual, authorised hours will be claimable.
2.1 | Ad-hoc services for Monday to Friday
2.1.1 | Plumber | Hour | 80
2.1.2 | Electrician | Hour | 40
2.1.3 | Call-out fee | Each | 20
2.2 | Ad-hoc services for After hours, Weekends and Public Holidays
2.2.1 | Plumber | Hour | 40
2.2.2 | Electrician | Hour | 40
2.2.3 | Call-out fee | Each | 10
TOTAL CARRIED TO SUMMARY

## Bill No. 2B-Adhoc
BILL NO.2B - AD-HOC SERVICES AND MISCELLANEOUS
ITEM | DESCRIPTION | UNIT | QTY PER YEAR | RATE | AMOUNT
Ad-hoc services for emergency and non-urgent call outs. These are separate from scheduled preventative maintenance services. Only actual, authorised hours will be claimable.
2.1 | Ad-hoc services for Monday to Friday
2.1.1 | Plumber | Hour | 80
2.1.2 | Electrician | Hour | 40
2.1.3 | Call-out fee | Each | 20
2.2 | Ad-hoc services for After hours, Weekends and Public Holidays
2.2.1 | Plumber | Hour | 40
2.2.2 | Electrician | Hour | 40
2.2.3 | Call-out fee | Each | 10
TOTAL CARRIED TO SUMMARY

## Bill No. 2C-Adhoc
BILL NO.2C - AD-HOC SERVICES AND MISCELLANEOUS
ITEM | DESCRIPTION | UNIT | QTY PER YEAR | RATE | AMOUNT
ITEM | DESCRIPTION | UNIT | QTY PER YEAR | RATE | AMOUNT
Ad-hoc services for emergency and non-urgent call outs. These are separate from scheduled preventative maintenance services. Only actual, authorised hours will be claimable.
2.1 | Ad-hoc services for Monday to Friday
2.1.1 | Plumber | Hour | 80
2.1.2 | Electrician | Hour | 40
2.1.3 | Call-out fee | Each | 20
2.2 | Ad-hoc services for After hours, Weekends and Public Holidays
2.2.1 | Plumber | Hour | 40
2.2.2 | Electrician | Hour | 40
2.2.3 | Call-out fee | Each | 10
TOTAL CARRIED TO SUMMARY (EX VAT)

## Bill No. 2D-Adhoc
BILL NO.2D - AD-HOC SERVICES AND MISCELLANEOUS
ITEM | DESCRIPTION | UNIT | QTY PER YEAR | RATE | AMOUNT
Ad-hoc services for emergency and non-urgent call outs. These are separate from scheduled preventative maintenance services. Only actual, authorised hours will be claimable.
2.1 | Ad-hoc services for Monday to Friday
2.1.1 | Plumber | Hour | 80
2.1.2 | Electrician | Hour | 40
2.1.3 | Call-out fee | Each | 20
2.2 | Ad-hoc services for After hours, Weekends and Public Holidays
2.2.1 | Plumber | Hour | 40
2.2.2 | Electrician | Hour | 40
2.2.3 | Call-out fee | Each | 10
TOTAL CARRIED TO SUMMARY

## Bill No. 3-Weekly
BILL NO. 3 - PREVENTATIVE MAINTENANCE: WEEKLY SERVICES
ITEM | DESCRIPTION | UNIT | SERVICE PER YEAR | RATE | AMOUNT
Planned work rates to include transport, labour and spares for service
Heat Exchangers-Visual inspections
3.1 | Heat Exchanger Model: Solar stratified charging module, 2017 Serial No: LME-150M Quantity: 1 | Sum | 40
3.2 | Heat Exchanger Model: Solar stratified charging module, 2018 Serial No: LME-150M Quantity: 1 | Sum | 40
3.3 | Heat Exchanger Model: Solar stratified charging module, 2018 Serial No: LME-300M Quantity: 1 | Sum | 40
3.4 | Heat Exchanger Model: Solar stratified charging module, 2018 Serial No: LME-400M Quantity: 1 | Sum | 40
Circulation Pumps
3.5 | Wilo pump Serial No: Para 25/1-11 T2/20000100000, 2018 Quantity: 1 | Sum | 40
3.6 | Wilo pump Serial No: Para 25/1-9 T2/20000100063, 2018 Quantity: 1 | Sum | 40
3.7 | Wilo pump Serial No: Para Maxo 25-180-11-F021/231156370011, 2025 Quantity: 1 | Sum | 40
3.8 | Wilo pump Serial No: Para Maxo 25-180-11-F021/2311563700101, 2025 Quantity: 1 | Sum | 40
3.9 | Wilo pump Serial No: Stratos 40/1-12(DE)/10001154593, 2018 Quantity: 1 | Sum | 40
3.1 | Wilo pump Serial No: Stratos Para 30/1-12T2/20000100048, 2018 Quantity: 1 | Sum | 40
3.11 | Wilo pump Serial No: Stratos Para 30/1-8T2/20000100031, 2018 Quantity: 1 | Sum | 40
3.12 | Wilo pump Serial No: Stratos Para 30/1-12T2/20000100049, 2018 Quantity: 1 | Sum | 40
3.13 | Grundfos pump Serial No: Not Available Quantity: 5 | Sum | 40
Return Pump
3.14 | Wilo pump Serial No: Not Available Quantity: 2 | Sum | 40
Pressure Pump
3.15 | Grundfos pump Serial No: Not Available Quantity: 2 | Sum | 40
Expansion Vessel
3.16 | Pre-cooling tank Model: Not Available Serial No: Not Available Quantity: 3 | Sum | 40
3.17 | MEV Tank Model: Not Available Serial No: Not Available Quantity: 3 | Sum | 40
3.18 | Expansion Vessel Model: Global Water Solution, MUPA-300-10,2018 Serial No: Not Available Quantity: 4 | Sum | 40
3.19 | Expansion Vessel Model: Global Water Solution, MUPA-450-10, 2018 Serial No: Not Available Quantity: 7 | Sum | 40
Glycol tanks
3.2 | Glycol tank Maximum working pressure: 10 bar Test Pressure: 13 bar Model: MUPA-300-10, 2018 Quantity: 4 | Sum | 40
1.21 | Glycol tank Maximum working pressure: 10 bar Test Pressure: 13 bar Model: MUPA-450-10, 2018 Quantity: 7 | Sum | 40
1.22 | Valves No details available
Tanks Under Pressure
3.23 | Tanks Under Pressure No details available Quantity: 3 | Sum | 39
3.24 | Tanks Under Pressure Make: Blackdot Energy Quantity: 1 | Sum | 40
Thermal cubes
3.25 | Thermal cubes with coils inside - Not under pressure Quantity: 2 | Sum | 40
| Solar Collectors | Sum | 40
3.26 | Solar Collectors - Junction Campus, Parktown Quantity: 240
3.26 | Solar Collectors - David Wesbter Residence Quantity: 64 | Sum | 40
3.26 | Solar Collectors - Barnato Hall Residence Quantity: 72 | Sum | 40
TOTAL CARRIED TO SUMMARY

## Bill No. 4-Monthly
BILL NO. 4 - PREVENTATIVE MAINTENANCE: MONTHLY SERVICES
ITEM | DESCRIPTION | UNIT | SERVICE PER YEAR | RATE | AMOUNT
Planned work rates to include transport, labour and spares for service
| Heat Exchangers |  | 8
4.1 | Heat Exchanger Model: Solar stratified charging module, 2017 Serial No: LME-150M Quantity: 1 | Sum | 8
4.2 | Heat Exchanger Model: Solar stratified charging module, 2018 Serial No: LME-150M Quantity: 1 | Sum | 8
4.3 | Heat Exchanger Model: Solar stratified charging module, 2018 Serial No: LME-300M Quantity: 1 | Sum | 8
4.4 | Heat Exchanger Model: Solar stratified charging module, 2018 Serial No: LME-400M Quantity: 1 | Sum | 8
Circulation Pumps
4.5 | Wilo pump Serial No: Para 25/1-11 T2/20000100000, 2018 Quantity: 1 | Sum | 8
4.6 | Wilo pump Serial No: Para 25/1-9 T2/20000100063, 2018 Quantity: 1 | Sum | 8
4.7 | Wilo pump Serial No: Para Maxo 25-180-11-F021/231156370011, 2025 Quantity: 1 | Sum | 8
4.8 | Wilo pump Serial No: Para Maxo 25-180-11-F021/2311563700101, 2025 Quantity: 1 | Sum | 8
4.9 | Wilo pump Serial No: Stratos 40/1-12(DE)/10001154593, 2018 Quantity: 1 | Sum | 8
4.1 | Wilo pump Serial No: Stratos Para 30/1-12T2/20000100048, 2018 Quantity: 1 | Sum | 8
4.11 | Wilo pump Serial No: Stratos Para 30/1-8T2/20000100031, 2018 Quantity: 1 | Sum | 8
4.12 | Wilo pump Serial No: Stratos Para 30/1-12T2/20000100049, 2018 Quantity: 1 | Sum | 8
4.13 | Grundfos pump Serial No: Not Available Quantity: 5 | Sum | 8
| Return Pump |  | 8
4.14 | Wilo pump Serial No: Not Available Quantity: 2 | Sum | 8
| Pressure Pump |  | 8
4.15 | Grundfos pump Serial No: Not Available Quantity: 2 | Sum | 8
Expansion Vessel
4.16 | Pre-cooling tank Model: Not Available Serial No: Not Available Quantity: 3 | Sum | 8
4.17 | MEV Tank Model: Not Available Serial No: Not Available Quantity: 3 | Sum | 8
4.18 | Expansion Vessel Model: Global Water Solution, MUPA-300-10,2018 Serial No: Not Available Quantity: 4 | Sum | 8
4.19 | Expansion Vessel Model: Global Water Solution, MUPA-450-10, 2018 Serial No: Not Available Quantity: 7 | Sum | 8
Glycol tanks
4.2 | Glycol tank Maximum working pressure: 10 bar Test Pressure: 13 bar Model: MUPA-300-10, 2018 Quantity: 4 | Sum | 8
4.21 | Glycol tank Maximum working pressure: 10 bar Test Pressure: 13 bar Model: MUPA-450-10, 2018 Quantity: 7 | Sum | 8
4.22 | Valves No details available | Sum | 8
Tanks Under Pressure
4.23 | Tanks Under Pressure No details available Quantity: 3 | Sum | 8
4.24 | Tanks Under Pressure Make: Blackdot Energy Quantity: 1 | Sum | 8
Thermal cubes
4.25 | Thermal cubes with coils inside - Not under pressure Quantity: 2 | Sum | 8
Solar Collectors
4.26 | Solar Collectors - Junction Campus, Parktown Quantity: 240 | Sum | 8
4.27 | Solar Collectors - David Wesbter Residence Quantity: 64 | Sum | 8
4.28 | Solar Collectors - Barnato Hall Residence Quantity: 72 | Sum | 8
SUB-TOTAL FOR EACH YEAR
TOTAL CARRIED TO SUMMARY

## Bill No. 5-Bi-annual
BILL NO. 5 - PREVENTATIVE MAINTENANCE: BI-ANNUAL SERVICES
ITEM | DESCRIPTION | UNIT | SERVICE PER YEAR | RATE | AMOUNT
Planned work rates to include transport, labour and spares for service
Heat Exchangers
4.1 | Heat Exchanger Model: Solar stratified charging module, 2017 Serial No: LME-150M Quantity: 1 | Sum | 2
4.2 | Heat Exchanger Model: Solar stratified charging module, 2018 Serial No: LME-150M Quantity: 1 | Sum | 2
4.3 | Heat Exchanger Model: Solar stratified charging module, 2018 Serial No: LME-300M Quantity: 1 | Sum | 2
4.4 | Heat Exchanger Model: Solar stratified charging module, 2018 Serial No: LME-400M Quantity: 1 | Sum | 2
Circulation Pumps
4.5 | Wilo pump Serial No: Para 25/1-11 T2/20000100000, 2018 Quantity: 1 | Sum | 2
4.6 | Wilo pump Serial No: Para 25/1-9 T2/20000100063, 2018 Quantity: 1 | Sum | 2
4.7 | Wilo pump Serial No: Para Maxo 25-180-11-F021/231156370011, 2025 Quantity: 1 | Sum | 2
4.8 | Wilo pump Serial No: Para Maxo 25-180-11-F021/2311563700101, 2025 Quantity: 1 | Sum | 2
4.9 | Wilo pump Serial No: Stratos 40/1-12(DE)/10001154593, 2018 Quantity: 1 | Sum | 2
4.1 | Wilo pump Serial No: Stratos Para 30/1-12T2/20000100048, 2018 Quantity: 1 | Sum | 2
4.11 | Wilo pump Serial No: Stratos Para 30/1-8T2/20000100031, 2018 Quantity: 1 | Sum | 2
4.12 | Wilo pump Serial No: Stratos Para 30/1-12T2/20000100049, 2018 Quantity: 1 | Sum | 2
4.13 | Grundfos pump Serial No: Not Available Quantity: 5 | Sum | 2
Return Pump
4.14 | Wilo pump Serial No: Not Available Quantity: 2 | Sum | 2
Pressure Pump
4.15 | Grundfos pump Serial No: Not Available Quantity: 2 | Sum | 2
Expansion Vessel
4.16 | Pre-cooling tank Model: Not Available Serial No: Not Available Quantity: 3 | Sum | 2
4.17 | MEV Tank Model: Not Available Serial No: Not Available Quantity: 3 | Sum | 2
4.18 | Expansion Vessel Model: Global Water Solution, MUPA-300-10,2018 Serial No: Not Available Quantity: 4 | Sum | 2
4.19 | Expansion Vessel Model: Global Water Solution, MUPA-450-10, 2018 Serial No: Not Available Quantity: 7 | Sum | 2
Glycol tanks
4.2 | Glycol tank Maximum working pressure: 10 bar Test Pressure: 13 bar Model: MUPA-300-10, 2018 Quantity: 4 | Sum | 2
4.21 | Glycol tank Maximum working pressure: 10 bar Test Pressure: 13 bar Model: MUPA-450-10, 2018 Quantity: 7 | Sum | 2
4.22 | Valves No details available | Sum | 2
Tanks Under Pressure
4.23 | Tanks Under Pressure No details available Quantity: 3 | Sum | 2
4.24 | Tanks Under Pressure Make: Blackdot Energy Quantity: 1 | Sum | 2
Thermal cubes
4.25 | Thermal cubes with coils inside - Not under pressure Quantity: 2 | Sum | 2
Solar Collectors
4.26 | Solar Collectors - Junction Campus, Parktown Quantity: 240 | Sum | 2
4.27 | Solar Collectors - David Wesbter Residence Quantity: 64 | Sum | 2
4.28 | Solar Collectors - Barnato Hall Residence Quantity: 72 | Sum | 2
TOTAL CARRIED TO SUMMARY

## Bill No. 6-Annual
BILL NO. 6 - PREVENTATIVE MAINTENANCE: ANNUAL SERVICES
ITEM | DESCRIPTION | UNIT | SERVICE PER YEAR | RATE | AMOUNT
Planned work rates to include transport, labour and spares for service
Heat Exchangers
5.1 | Heat Exchanger Model: Solar stratified charging module, 2017 Serial No: LME-150M Quantity: 1 | Sum | 1
5.2 | Heat Exchanger Model: Solar stratified charging module, 2018 Serial No: LME-150M Quantity: 1 | Sum | 1
5.3 | Heat Exchanger Model: Solar stratified charging module, 2018 Serial No: LME-300M Quantity: 1 | Sum | 1
5.4 | Heat Exchanger Model: Solar stratified charging module, 2018 Serial No: LME-400M Quantity: 1 | Sum | 1
Circulation Pumps
5.5 | Wilo pump Serial No: Para 25/1-11 T2/20000100000, 2018 Quantity: 1 | Sum | 1
5.6 | Wilo pump Serial No: Para 25/1-9 T2/20000100063, 2018 Quantity: 1 | Sum | 1
5.7 | Wilo pump Serial No: Para Maxo 25-180-11-F021/231156370011, 2025 Quantity: 1 | Sum | 1
5.8 | Wilo pump Serial No: Para Maxo 25-180-11-F021/2311563700101, 2025 Quantity: 1 | Sum | 1
5.9 | Wilo pump Serial No: Stratos 40/1-12(DE)/10001154593, 2018 Quantity: 1 | Sum | 1
5.1 | Wilo pump Serial No: Stratos Para 30/1-12T2/20000100048, 2018 Quantity: 1 | Sum | 1
5.11 | Wilo pump Serial No: Stratos Para 30/1-8T2/20000100031, 2018 Quantity: 1 | Sum | 1
5.12 | Wilo pump Serial No: Stratos Para 30/1-12T2/20000100049, 2018 Quantity: 1 | Sum | 1
5.13 | Grundfos pump Serial No: Not Available Quantity: 5 | Sum | 1
Return Pump
5.14 | Wilo pump Serial No: Not Available Quantity: 2 | Sum | 1
Pressure Pump
5.15 | Grundfos pump Serial No: Not Available Quantity: 2 | Sum | 1
Expansion Vessel
5.16 | Pre-cooling tank Model: Not Available Serial No: Not Available Quantity: 3 | Sum | 1
5.17 | MEV Tank Model: Not Available Serial No: Not Available Quantity: 3 | Sum | 1
5.18 | Expansion Vessel Model: Global Water Solution, MUPA-300-10,2018 Serial No: Not Available Quantity: 4 | Sum | 1
5.19 | Expansion Vessel Model: Global Water Solution, MUPA-450-10, 2018 Serial No: Not Available Quantity: 7 | Sum | 1
Glycol tanks
5.2 | Glycol tank Maximum working pressure: 10 bar Test Pressure: 13 bar Model: MUPA-300-10, 2018 Quantity: 4 | Sum | 1
5.21 | Glycol tank Maximum working pressure: 10 bar Test Pressure: 13 bar Model: MUPA-450-10, 2018 Quantity: 7 | Sum | 1
5.22 | Valves No details available | Sum | 1
Tanks Under Pressure
5.23 | Tanks Under Pressure No details available Quantity: 3 | Sum | 1
5.24 | Tanks Under Pressure Make: Blackdot Energy Quantity: 1 | Sum | 1
Thermal cubes
5.25 | Thermal cubes with coils inside - Not under pressure Quantity: 2 | Sum | 1
Solar Collectors
5.26 | Solar Collectors - Junction Campus, Parktown Quantity: 240 | Sum | 1
5.27 | Solar Collectors - David Wesbter Residence Quantity: 64 | Sum | 1
5.28 | Solar Collectors - Barnato Hall Residence Quantity: 72 | Sum | 1
TOTAL CARRIED TO SUMMARY